## Slide 1
Prof. Arvid Lundervold BSc, MD, PhD
Neuroinformatics and Image Analysis Laboratory, Neural Networks Research Group
Department of Biomedicine
University of Bergen
Norway
2nd International Scientific Symposium - Functional Renal Imaging: Where Physiology, Nephrology, Radiology and Physics Meet, Berlin Oct 12th 2017 09:00-09:20
What DCE MRI can(not) tell us about renal pathophysiology
http://www.cost.eu/COST_Actions/ca/CA16103
Lerman LO, Textor SC (eds). Renal Vascular Disease, Springer 2014
Syllabus: https://github.com/arvidl/dce-mri-renal-pathophysiology

## Slide 2
Kidney structure and function
Kidney diseases & Bayes theorem
Renal pathophysiology – multiscale approach – systems medicine
What renal DCE-MRI
can tell us
can not tell us
Software for DCE-MRI - estimation of renal perfusion and filtration
(“open science” & “reproducible research”)
Renal pathophysiology and DCE-MRI
What DCE MRI can(not) tell us about renal pathophysiology (Lundervold, Thu 12 Oct 09:00)
What ASL MRI can(not) tell us about renal pathophysiology (Buchanan, 09:40)
What oxygen sensitive MRI can(not) tell us about renal pathophysiology (Prasad, 14:10)
What diffusion MRI can(not) tell us about renal pathophysiology (Vallee, 16:50)
Other measurement techniques

## Slide 3
Kidney morphology
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
act as filters
body homeostatsis
(fluid status, pH, electrolytes)
hormon production
<0.5% of body weight
~20% of cardiac output
Medulla
(pyramid)
Cortex
Renal
pelvis

## Slide 4
The nephron
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
Juxtamedullary
nephron
Superficial
nephron
CORTEX
OUTER
MEDULLA
INNER
MEDULLA

## Slide 5
Glomerular
capillary
covered by the
foot processes
of podocytes
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
Where the filtration (GFR) takes place
TEM x 48000 1 mm
Capillary
lumen
Bowman’s
space
Satchell & Braet Am J of Physiol Renal Physiology 2009:296(5):F947-F956.
Primary
processes
Primary
processes
Foot processes
Secondary
processes
Podocyte
Cell body
measureable by DCE-MRI

## Slide 6
Diseases of the
genitourinary
system N00-N99
Pathophysiology
observed condition
during a disease state
operating
mechanism
Glomerular diseases
Renal tubulo-interstitial diseases
Acute kidney failure and
chronic kidney disease

## Slide 7
Diseases of the
genitourinary
system N00-N99
Pathophysiology
and
The pre-test probability and the post-test probability of disease
Sox et al. Medical Decision Making 2nd ed., 2013
D = disease
R = test result
The importance of imaging results

## Slide 8
Integrate
clinical
parameters
Assess
disease
pathophysiology
Reveal molecular mechanisms of diseases
More accurate molecular diagnosis
Predict disease prognosis
Targeted therapeutic agents
Systems biomedicine of kidney diseases
He et al. Systems biology of kidney diseases Kidney International 2012;81:22–39
s
y
s
t
e
m
s
l
e
v
e
l
Imaging &
enable

## Slide 9
Normal kidney function
e.g. maintenance of
fluids, electrolytes,
and acid–base balance
and clearance of toxins
maintained by
coordinated
regulation
at different
levels
of organization
Multiscale analysis of kidney function
He et al. Systems biology of kidney diseases Kidney International 2012;81:22–39
“ Radiomics “
a Systems Approach for
PHysiological Integration of Renal,
cardiac and respiratory function

## Slide 10
PX,a
plasma concentration of X in renal artery
PX,v
plasma concentration of X in renal vein
RPFa
renal plasma flow in renal artery
RPFv
renal plasma flow in renal vein
UX
concentration of X in urine
V
urine flow (volume urine per time unit)
.
“ Mass balance “ of a solute or tracer X
( X is not synthesized, degraded, or accumulated in the kidney )
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
Arterial input of X
Venous output of X
Urine output of X
DCE-MRI
basic principle

## Slide 11
“ Mass balance “
clearance of a substance X
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
RPFa
GFR
EX
RX
SX
FX
Amount
excreted
per unit
time
Amount
filtered
per unit
time
Amount
reabsorbed
per unit
time
Amount
secreted
per unit
time
Afferent
arteriole
Efferent
arteriole
Glomerular
capillary
Renal
vein
Bowman’s
space
Tubule
lumen

## Slide 12
“ Mass balance “
clearance of a substance X
Clearance of X, CX
GFR
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
PX,a
GFR
PX,v = 0
Afferent
arteriole
Efferent
arteriole
Glomerular
capillary
Bowman’s
space
Tubule
lumen
Renal
vein
Input into
Bowman’s space
Output into
urine

## Slide 13
“ Mass balance “
clearance of a substance X
Clearance of X, CX
GFR
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
RPFa
GFR
Cglucose = 0
Cinulin = GFR
CPAH = RPFa
~ 600 mL/min
~ 125 mL/min
EX
RX
SX
FX
Filtration fraction, FF = GFR / RPF
~ 0.2
Afferent
arteriole
Glomerular
capillary
Bowman’s
space
Efferent
arteriole
Tubule
lumen
Renal
vein
Input into
Bowman’s space
Output into
urine

## Slide 14
Ao (t) - aorta (AIF) [mM X/ mL whole blood]
A (t) - intrarenal arteries and glomerular vessels
[mM X / mL plasma]
P (t) - proximal convoluted tubule [mM X / mL tubular fluid]
L (t) - loop of Henle [mM X / mL tubular fluid]
Simplified three-compartment model for
determination of single-kidney GFR:
Conservation of mass (simplified model):
System of 3 coupled ordinary differential equations, ODEs
cortex medulla
[mL]
- volume of P [mL]
- volume of L [mL]
Lee VS et al. Renal function measurements from MR renography and a simplified multicompartmental model. Am J Physiol Renal Physiol 2007;292:F1548–F1559.
Three-compartment modeling of renal perfusion and filtration
Dashed lines represent tracer-free fluid resorption, in terms of fractions of GFR: fP, fL.
RPF = Renal plasma flow [mL/min]
GFR = Glomerular filtration rate [mL/min]
Hct = hematocrit, (1 – Hct) = plasma fraction
X = tracer substance (e.g. Gd)
(1 – fP) GFR
(1 – fP - fL) GFR

## Slide 15
Simplified three-compartment model for
determination of single-kidney GFR:
Conservation of mass
Lee VS et al. Renal function measurements from MR renography and a simplified multicompartmental model. Am J Physiol Renal Physiol 2007;292:F1548–F1559.
Three-compartment modeling of renal perfusion and filtration
(1 – fP) GFR
(1 – fP - fL) GFR
The volumes and from segmented 3D MRI
MR measurements:
The AIF, from MR renography (DCE-MRI)
from MR renography
MR renography
Parameters estimated:
RPF
GFR
fP
fL
VA,Cx
VA,Med
(with some simplifying assumptions)

## Slide 16
DCE-MRI of the moving kidney

## Slide 17
Pharmacokinetic modeling of perfusion and filtration using DCE-MRI
R. Sance et al., ISPA 2006
Lee VS et al. Renal function measurements from MR renography and a simplified multicompartmental model. Am J Physiol Renal Physiol 2007;292:F1548–F1559.
The
moving
kidney
The
motion-
corrected
kidney

## Slide 18
Sourbron et al. MRI-Measurement of Perfusion and Glomerular Filtration in the Human Kidney With a Separable Compartment Model. Investigative Radiology 2008;43:40-48.
MRI-measurement of perfusion and glomerular filtration in
the human kidney with a separable compartment model
The plasma flow FP carries the contrast agent from an
arterial region (A) into the tissue (gray rectangle)
It first enters the tissue plasma, where it distributes over
the plasma volume VP
A fraction of the entering contrast agent is filtered out of
the vascular space and is carried by the tubular flow FT into
the tubular system where it distributes over the tubular volume VT
In the tubuli a fraction f of the filtrate is reabsorbed.
The contrast agent leaves the tissue carried by the outflow
out of the vascular and tubular spaces.
(Sourbron et al., 2008)
Tissue voxel
Feeding artery
Plasma
Tubuli
f (reabsorption fraction)

## Slide 19
The four independent model parameters
FP (mL/100 mL/Min)
TP = MTTP (sec)
FT (mL/100 mL/ Min)
TT = MTTT (sec)
for the data with the intermediate fit accuracy
The cortex region was defined retrospectively as those pixels with VP > 20 mL/100 mL.
The parametric maps (colored) are superposed on a precontrast image (gray) for anatomic reference.
MRI-measurement of perfusion and glomerular filtration in
the human kidney with a separable compartment model
Sourbron et al. MRI-Measurement of Perfusion and Glomerular Filtration in the Human Kidney With a Separable Compartment Model. Investigative Radiology 2008;43:40-48.

## Slide 20
Renal compartment segmentation from DCE-MRI
Yang X et al. Renal compartment segmentation in DCE-MRI images. Medical Image Analysis 2016;32:269-280.
Temporal measurements
Mean signal intensity
Cortex
Medulla
Pelvis
Preprocessing
MSTV-based Kidney
Segmentation
DCE-MRI data
K-means clustering in segmented kidney
Principal Components
PCA Analysis on Entire Dataset
Medulla
Recognition
Cortex
Results
Refinement
Segmented cortex
Segmented medulla
Segmented pelvis
Normalization
Motion correction
E(t) =
S(t) – Sbaseline
Sbaseline
E(t) is relative
enhancement
tn
t0
tn
t0
MSTV = Maximally Stable Temporal Volume
(a) - (d) An exemplar slice of DCE-MRI series including both kidneys at four temporal points 1, 3, 7, and 23 respectively. For this patient, 1156 abdomen images are taken at 34 temporal points.
(e) By analyzing the enhancement of the renal tissues as a function of time, i.e. time intensity curves, one can determine clinically important single-kidney parameters such as the renal blood flow (RBF), glomerular filtration rate (GFR), and cortical and medullary blood volumes.

## Slide 21
POSTER P19
Fast semi-supervised segmentation of the kidneys in DCE-MRI using convolutional
neural networks (CNN) and transfer learning
Left & right kidney volumes
Mean SI time courses
~ GFR, ~ RPF
WIP: aorta
segmentation
(AIF)
~ 50 hr
~ 5 hr
~ 5 sec
without
motion-correction
Alexander S. Lundervold et al.

## Slide 22
What DCE-MRI can not tell us
van Eijs et al. (Utrecht) Innovative perspective: Gadolinium-free magnetic resonance imaging in long-term follow-up after kidney transplantation. Frontiers in Physiology 2017;8:296

## Slide 23
What DCE-MRI can not tell us
van Eijs et al. (Utrecht) Innovative perspective: Gadolinium-free magnetic resonance imaging in long-term follow-up after kidney transplantation. Frontiers in Physiology 2017;8:296
R2* map. The scale denotes R2* values in s−1
a low R2* indicates higher oxygenation
A feedforward loop in the hypothesized processes
of the development of fibrosis in chronic kidney
disease, and their non-invasive modes of detection
Tract density map
Tract density map
Renal tractography
T2-w anatomy
van Baalen et al. JMRI 2017
DWI
BOLD

## Slide 24
Multiparametric renal MRI
Cox et al. (Nottingham) Multiparametric renal magnetic resonance imaging: validation, interventions, and alterations in chronic kidney disease. Frontiers in Physiology 2017;8:696
+ DCE-MRI filtration
Filtration
GFR, RPF
mL/100mL/min
!
DCE-MRI

## Slide 25
DCE-MRI: numerical analysis software
Sourbron S, Biffar A, Ingrisch M, Fierens Y, Luypaert R.
PMI: platform for research in medical imaging.
Magn Reson Mater Phy. 2009 Oct 1;22(1):539.
https://github.com/plaresmedima/PMI-0.4
Interactive Data Language (IDL)
http://www.harrisgeospatial.com/ProductsandSolutions/GeospatialProducts/IDL.aspx
https://sites.google.com/site/plaresmedima
Zöllner FG, Daab M, Sourbron SP, Schad LR, Schoenberg SO, Weisser G.
An open source software for analysis of dynamic contrast enhanced magnetic resonance images: UMMPerfusion revisited.
BMC Med Imaging. 2016;16:7. doi:10.1186/s12880-016-0109-0.
http://ikrsrv1.medma.uni-heidelberg.de/redmine/projects/ummperfusion
OsiriX (C/C++) on MacOS
www.osirix-viewer.com
Schmid VJ, Whitcher B, Padhani AR, Yang GZ.
Quantitative analysis of dynamic contrast-enhanced MR images based on Bayesian P-splines.
IEEE Trans Med Imaging. 2009;28(6):789-798. doi:10.1109/TMI.2008.2007326
https://github.com/petmri/ROCKETSHIP
MATLAB
www.mathworks.com
PMI
UMMPerfusion
ROCKETSHIP

## Slide 26
DCE-MRI: numerical analysis software
Schmid VJ, Whitcher B, Padhani AR, Taylor NJ, Yang GZ.
Bayesian methods for pharmacokinetic models in
dynamic contrast-enhanced magnetic resonance imaging.
IEEE Transactions on Medical Imaging 2006;25(2):1627-1636.
http://dcemri.sourceforge.net https://cran.r-project.org/web/packages/dcemriS4
dcemriS4
DATforDCEMRI
DCEMRI.jl
The R language
www.r-project.org
Ferl GZ.
DATforDCEMRI: An R Package for Deconvolution Analysis
and Visualization of DCE-MRI Data
Journal of Statistical Software 2011;44(3):1-18.
https://cran.r-project.org/web/packages/DATforDCEMRI
The R language
www.r-project.org
Smith DS, Li X, Arlinghaus LR, Yankeelov TE, Welch EB.
DCEMRI.jl: a fast, validated, open source toolkit for dynamic
contrast enhanced MRI analysis.
PeerJ. 2015;3:e909. doi:10.7717/peerj.909
https://github.com/davidssmith/DCEMRI.jl https://www.ncbi.nlm.nih.gov/pubmed/25922795
The Julia language
http://julialang.org
https://github.com/welcheb/pydcemri
The Python language
www.python.org
Python module :

## Slide 27
Thanks !